## 03 stavke
Ponuditelj:
Naručitelj: Centar za odgoj i obrazovanje Dubrava Prilaz Tomislava Špoljara 2 10 040 Zagreb OIB: 3198262082
PONUDA: OGRADA LIJEVO OD ULAZA U DOM d=222m
Red. br. | Opis stavke | Jed. Mjera | Količina | jedinična cijena | ukupna cijena | Jed. cijena | Uku. cijena | jedinična cijena | ukupna cijena
1.1. | Demontaža postojeće žičane ograde lijevo od ulaza u dom, prema kućama, D=222m, visine 1,25m i odvoz iste na otkup metalnog otpada.
1.2. | Sječa grmova koji se nalaze u sadašnjoj ogradi i odvoz istih radi uspješne montaže nove ograde. Sječa 8 grmova visine 1m i 11 visine 2m. Grmovi se sjeku u ravnini sa zemljom. Posječeno grmlje se odvozi na deponij.
1.3. | Iskop rova 222m x 0,40m x 0,80m. Visina iskopa je 0,40 - 0,80m ovisno o terenu. | m³ | 71.04
1.4. | Pijesak - dobava i razastiranje 222m x 0,40 x 0,10m | m³ | 8.88
1.5. | Dobava i izrada dvostrane oplate za parapetni zid dužine 222m i visine 0,30 | m² | 66.6
1.6. | Dobava, savijanje i postava armature za temelje 80 šipki 12m Ø 12 | kg | 875
1.7. | Dobava, savijanje i postava armature za temelje 100 šipki 12m Ø 8 | kg | 486
1.8. | Betoniranje temelja u zemljanlom iskopu betonom C25/30 | m³ | 71.04
1.9. | Dobava, rezanje i postava armature za parapetni zid mreža Q335 | kom | 40
1.10. | Betoniranje parapetnog zida betonom C25/30 | m³ | 13.5
1.11. | stupovi za ogradu pocinčani i plastificirani za ugradnju u beton (dio od 15cm se ugrađuje u beton), ukupne visine 1,50 m, Ø48mm, d=1,5mm. Boja tamno zelena. | kom | 90
1.12. | Nabava dovoz i postavljanje nove žičane ograde dimenzije 1,25 x 222m. Ograda je pocinčana i plastificirana u zelenu boju. Ograda se postavlja na strani ulaza do crkve. Nova ograda je Reta univerzalno žičano PVC pletivo ili jednakovrijedno, debljina žice pletiva 1,8/2,8mm, dimenzija oka 60x60mm, visina pletiva 1,25m, ograda se pričvršćuje za stupove Reta metalnim spojnicama Quickix. | Kom | 9 kom
UKUPNO (kn)
PDV 25%
SVEUKUPNO (kn)
Za ponuditelja:

## Compatibility Report
Compatibility Report for troškovnik-ograda -gotovo.xls
Run on 9/3/2018 9:28
The following features in this workbook are not supported by earlier versions of Excel. These features may be lost or degraded when opening this workbook in an earlier version of Excel or if you save this workbook in an earlier file format.
Minor loss of fidelity | # of occurrences | Version
Some cells or styles in this workbook contain formatting that is not supported by the selected file format. These formats will be converted to the closest format available. | 1 | Excel 97-2003